## Sheet1
msn_id | msn | evnt_mdm_id | Event_Name | occ_ts | res_ts | DurationinDays | occ_v_r | occ_v_y | occ_v_b | occ_i_r | occ_i_y | occ_i_b | occ_pf_r | occ_pf_y | occ_pf_b | occ_kwh_imp | res_kwh_imp | nos | Event_Name | Phase | Discom | REGION | CIRCLE | DIVISION | ZONE_DC | Consumer_Name | Consumer_Address | Consumer_number | Sanctioned_Load_KW | Manufacturer_Name
17985257 | EZ0211002 | 512 | B-Phase - CT Open | 2025-04-04 19:41 | 2025-04-27 18:20 | 22.9439 | 237.79 | 236.52 | 237.74 | 0.229 | 1.085 | 0 | -0.952 | 0.858 | 1 | 1223.93 | 1347.23 | 1982349 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | RATAN KUMAR | . PUSHP KARANI PA .,. | 1906014844 | 7 | HPL
17985257 | EZ0211002 | 512 | B-Phase - CT Open | 2025-04-04 19:41 | 2025-04-27 18:20 | 22.9439 | 237.79 | 236.52 | 237.74 | 0.229 | 1.085 | 0 | -0.952 | 0.858 | 1 | 1223.93 | 1347.23 | 1982349 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | RATAN KUMAR | . PUSHP KARANI PA .,. | 1906014844 | 7 | HPL
18056196 | EZ0220854 | 510 | R-Phase - CT Open | 2025-04-02 09:40 | 2025-04-23 09:50 | 21.0063 | 238.38 | 242.99 | 219.28 | 0 | 15.392 | 15.012 | 1 | 0.612 | 0.642 | 3093.79 | 3480.68 | 1814947 | CT Open | 3ph | Discom Level | Sagar | Tikamgarh | Prithvipur | Niwadi Town | ANIL KUMAR SAHOO/NARAYAN DAS | SAHOO KANCHANPURA .. ... | 1443005104 | 10 | HPL
18056196 | EZ0220854 | 510 | R-Phase - CT Open | 2025-04-02 09:40 | 2025-04-23 09:50 | 21.0063 | 238.38 | 242.99 | 219.28 | 0 | 15.392 | 15.012 | 1 | 0.612 | 0.642 | 3093.79 | 3480.68 | 1814947 | CT Open | 3ph | Discom Level | Sagar | Tikamgarh | Prithvipur | Niwadi Town | ANIL KUMAR SAHOO/NARAYAN DAS | SAHOO KANCHANPURA .. ... | 1443005104 | 10 | HPL
18014546 | EZ0220075 | 512 | B-Phase - CT Open | 2025-04-05 11:20 | 2025-04-26 06:08 | 20.7827 | 235.93 | 0 | 236.56 | 4.003 | 0 | 0 | 0.979 | 0 | 1 | 1236.37 | 1450.13 | 1795624 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SHRI DEEPAK KUMAR | S/O RAM KISHOR GUPTA,NEAR VICKY BAR . S/O RAM KISHOR GUPTA,NEAR VICKY BAR | 1201022672 | 9.8 | HPL
18014546 | EZ0220075 | 512 | B-Phase - CT Open | 2025-04-05 11:20 | 2025-04-26 06:08 | 20.7827 | 235.93 | 0 | 236.56 | 4.003 | 0 | 0 | 0.979 | 0 | 1 | 1236.37 | 1450.13 | 1795624 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SHRI DEEPAK KUMAR | S/O RAM KISHOR GUPTA,NEAR VICKY BAR . S/O RAM KISHOR GUPTA,NEAR VICKY BAR | 1201022672 | 9.8 | HPL
17796764 | EZ0210095 | 512 | B-Phase - CT Open | 2025-04-01 12:01 | 2025-04-21 10:37 | 19.9414 | 245.28 | 249.14 | 245.26 | 2.644 | 1.369 | 0 | 0.928 | -0.965 | 1 | 2106.27 | 2234.9 | 1722939 | CT Open | 3ph | Discom Level | Jabalpur | Seoni | Seoni | Seoni-(T) | CONGAR VETAR FOREST | JABALPURROAD SEONI,. JABALPURROAD SEONI,. JABALPURROAD SEONI,. | 1412003759 | 6 | HPL
17796764 | EZ0210095 | 512 | B-Phase - CT Open | 2025-04-01 12:01 | 2025-04-21 10:37 | 19.9414 | 245.28 | 249.14 | 245.26 | 2.644 | 1.369 | 0 | 0.928 | -0.965 | 1 | 2106.27 | 2234.9 | 1722939 | CT Open | 3ph | Discom Level | Jabalpur | Seoni | Seoni | Seoni-(T) | CONGAR VETAR FOREST | JABALPURROAD SEONI,. JABALPURROAD SEONI,. JABALPURROAD SEONI,. | 1412003759 | 6 | HPL
18018028 | EZ0221767 | 512 | B-Phase - CT Open | 2025-04-08 04:15 | 2025-04-26 15:14 | 18.4577 | 239.21 | 238.04 | 238.97 | 0.611 | 8.361 | 0.082 | -0.948 | 1 | -0.983 | 1052.31 | 1176.46 | 1594744 | CT Open | 3ph | Discom Level | Sagar | Sagar | Sagar City Dn | Sagar-(T) | BADRI PRASAD/DARGAI KESHARWANI | 10-1/2 GOU GHAT,PARKOTA WARD .. . | 1404027285 | 4 | HPL
18018028 | EZ0221767 | 512 | B-Phase - CT Open | 2025-04-08 04:15 | 2025-04-26 15:14 | 18.4577 | 239.21 | 238.04 | 238.97 | 0.611 | 8.361 | 0.082 | -0.948 | 1 | -0.983 | 1052.31 | 1176.46 | 1594744 | CT Open | 3ph | Discom Level | Sagar | Sagar | Sagar City Dn | Sagar-(T) | BADRI PRASAD/DARGAI KESHARWANI | 10-1/2 GOU GHAT,PARKOTA WARD .. . | 1404027285 | 4 | HPL
18023974 | EZ0221824 | 510 | R-Phase - CT Open | 2025-04-01 12:31 | 2025-04-19 20:30 | 18.3327 | 251.55 | 251.55 | 251.6 | 0 | 8.92 | 0 | 1 | 1 | 1 | 1902.73 | 2195.03 | 1583944 | CT Open | 3ph | Discom Level | Sagar | Sagar | Sagar City Dn | Sadar DC | SHRI SANTOSH SONI . RAMSHANKAR SONI | RAMSHANKAR NARYAWALI NAKA,WARD NEAR CHAMELI CHOUK .CHAMALI CHOWK . | 1407001592 | 7 | HPL
18023974 | EZ0221824 | 510 | R-Phase - CT Open | 2025-04-01 12:31 | 2025-04-19 20:30 | 18.3327 | 251.55 | 251.55 | 251.6 | 0 | 8.92 | 0 | 1 | 1 | 1 | 1902.73 | 2195.03 | 1583944 | CT Open | 3ph | Discom Level | Sagar | Sagar | Sagar City Dn | Sadar DC | SHRI SANTOSH SONI . RAMSHANKAR SONI | RAMSHANKAR NARYAWALI NAKA,WARD NEAR CHAMELI CHOUK .CHAMALI CHOWK . | 1407001592 | 7 | HPL
18109233 | EZ0212526 | 512 | B-Phase - CT Open | 2025-04-08 22:25 | 2025-04-26 12:02 | 17.5672 | 233.02 | 221.17 | 233 | 0 | 6.992 | 0 | 1 | 0.998 | 1 | 1712.99 | 2225.52 | 1517809 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | Om prakash gupta | New bastand ka pas Rewa Rewa | 1402043375 | 5 | HPL
18109233 | EZ0212526 | 512 | B-Phase - CT Open | 2025-04-08 22:25 | 2025-04-26 12:02 | 17.5672 | 233.02 | 221.17 | 233 | 0 | 6.992 | 0 | 1 | 0.998 | 1 | 1712.99 | 2225.52 | 1517809 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | Om prakash gupta | New bastand ka pas Rewa Rewa | 1402043375 | 5 | HPL
18056185 | EZ0218827 | 512 | B-Phase - CT Open | 2025-04-09 08:45 | 2025-04-26 19:38 | 17.4536 | 240.04 | 239.7 | 241.47 | 0.44 | 8.426 | 0 | -0.906 | -0.999 | 1 | 1122.14 | 1285.83 | 1507987 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Bhitoli | SANJAY JHA | E-10, TRIVENI GREEN RESIDENSI,,GWARIGHAT ROAD GWARIGHAT ROAD JBP | 1852002350 | 7 | HPL
18056185 | EZ0218827 | 512 | B-Phase - CT Open | 2025-04-09 08:45 | 2025-04-26 19:38 | 17.4536 | 240.04 | 239.7 | 241.47 | 0.44 | 8.426 | 0 | -0.906 | -0.999 | 1 | 1122.14 | 1285.83 | 1507987 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Bhitoli | SANJAY JHA | E-10, TRIVENI GREEN RESIDENSI,,GWARIGHAT ROAD GWARIGHAT ROAD JBP | 1852002350 | 7 | HPL
17936331 | EZ0210761 | 510 | R-Phase - CT Open | 2025-04-09 13:15 | 2025-04-26 23:57 | 17.4461 | 238.33 | 238.97 | 238.04 | 0.198 | 1.192 | 0.316 | -0.985 | -0.98 | -0.98 | 130.31 | 131.75 | 1507339 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa-(T) | MOHIT SAXENA | A 603 SAMDARIYA GOLD SIRMOUR CHOURAHA REWA | 1401052863 | 5 | HPL
17936331 | EZ0210761 | 510 | R-Phase - CT Open | 2025-04-09 13:15 | 2025-04-26 23:57 | 17.4461 | 238.33 | 238.97 | 238.04 | 0.198 | 1.192 | 0.316 | -0.985 | -0.98 | -0.98 | 130.31 | 131.75 | 1507339 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa-(T) | MOHIT SAXENA | A 603 SAMDARIYA GOLD SIRMOUR CHOURAHA REWA | 1401052863 | 5 | HPL
17857810 | EZ0210637 | 511 | Y-Phase - CT Open | 2025-04-01 23:29 | 2025-04-18 20:54 | 16.8926 | 247.02 | 245.65 | 243.62 | 0 | 0 | 2.226 | 1 | 1 | 0.95 | 4563.39 | 4801.5 | 1459517 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | VIKASH MISHRA | BIDLA ROAD DURGA MANDIR KE SAMNE EZ02202206186956 | 1901033125 | 5 | HPL
17857810 | EZ0210637 | 511 | Y-Phase - CT Open | 2025-04-01 23:29 | 2025-04-18 20:54 | 16.8926 | 247.02 | 245.65 | 243.62 | 0 | 0 | 2.226 | 1 | 1 | 0.95 | 4563.39 | 4801.5 | 1459517 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | VIKASH MISHRA | BIDLA ROAD DURGA MANDIR KE SAMNE EZ02202206186956 | 1901033125 | 5 | HPL
17917793 | EZ0210815 | 511 | Y-Phase - CT Open | 2025-04-10 22:06 | 2025-04-27 15:24 | 16.7214 | 218.67 | 231.82 | 231.47 | 32.362 | 0 | 0 | -0.999 | 1 | 1 | 19955.08 | 21852.57 | 1444730 | CT Open | 3ph | Discom Level | Rewa | Singrauli | Waidhan City | Waidhan-(T) | ME RELIANCE JIO INFOCOM LTD C/O NITIN CHANSORIYA | AMLORI MOD .NAWANAGAR .NEAR SULAB COMPLEX .,. ,-- | 1606003428 | 18 | HPL
17917793 | EZ0210815 | 511 | Y-Phase - CT Open | 2025-04-10 22:06 | 2025-04-27 15:24 | 16.7214 | 218.67 | 231.82 | 231.47 | 32.362 | 0 | 0 | -0.999 | 1 | 1 | 19955.08 | 21852.57 | 1444730 | CT Open | 3ph | Discom Level | Rewa | Singrauli | Waidhan City | Waidhan-(T) | ME RELIANCE JIO INFOCOM LTD C/O NITIN CHANSORIYA | AMLORI MOD .NAWANAGAR .NEAR SULAB COMPLEX .,. ,-- | 1606003428 | 18 | HPL
17633981 | EZ0215060 | 511 | Y-Phase - CT Open | 2025-04-09 17:42 | 2025-04-26 00:35 | 16.2867 | 223.87 | 224.12 | 224.07 | 1.173 | 0.109 | 0.096 | -0.994 | -0.862 | -0.976 | 1733.15 | 1961.42 | 1407169 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | Madhav Nagar | KISHAN CHAND | KIRAN LINE,TIKURI K KIRAN LINE,TIKURI | 1330004121 | 10 | HPL
17633981 | EZ0215060 | 511 | Y-Phase - CT Open | 2025-04-09 17:42 | 2025-04-26 00:35 | 16.2867 | 223.87 | 224.12 | 224.07 | 1.173 | 0.109 | 0.096 | -0.994 | -0.862 | -0.976 | 1733.15 | 1961.42 | 1407169 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | Madhav Nagar | KISHAN CHAND | KIRAN LINE,TIKURI K KIRAN LINE,TIKURI | 1330004121 | 10 | HPL
18126016 | EZ0874693 | 510 | R-Phase - CT Open | 2025-04-11 13:22 | 2025-04-26 18:11 | 15.2005 | 235.9 | 239.9 | 241 | 0 | 1.8 | 1.71 | 1 | 0.576 | -0.15 | 611.3001 | 711.6427 | 1313321 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | KRISHNPAL KUSHWAHA | . SINDHI CAMP DURGA MANDIR KE SAMNE.,SINDHI CAMP | 1901017161 | 8 | LINKWELL TELESYSTEMS
18126016 | EZ0874693 | 510 | R-Phase - CT Open | 2025-04-11 13:22 | 2025-04-26 18:11 | 15.2005 | 235.9 | 239.9 | 241 | 0 | 1.8 | 1.71 | 1 | 0.576 | -0.15 | 611.3001 | 711.6427 | 1313321 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | KRISHNPAL KUSHWAHA | . SINDHI CAMP DURGA MANDIR KE SAMNE.,SINDHI CAMP | 1901017161 | 8 | LINKWELL TELESYSTEMS
18018060 | EZ0224388 | 510 | R-Phase - CT Open | 2025-04-11 06:16 | 2025-04-25 17:46 | 14.4788 | 239.16 | 239.4 | 235.42 | 0 | 0.037 | 2.237 | 0.403 | 0 | 0.8 | 887.59 | 919 | 1250966 | CT Open | 3ph | Discom Level | Jabalpur | Seoni | Seoni | Seoni-(T) | SMT SHARMILA JAIN W/O SANTOSH JAIN | NILANJANA CHOUK AMAR TAKIES KE PAAS SEONI SEONI | 1412007519 | 10 | HPL
18018060 | EZ0224388 | 510 | R-Phase - CT Open | 2025-04-11 06:16 | 2025-04-25 17:46 | 14.4788 | 239.16 | 239.4 | 235.42 | 0 | 0.037 | 2.237 | 0.403 | 0 | 0.8 | 887.59 | 919 | 1250966 | CT Open | 3ph | Discom Level | Jabalpur | Seoni | Seoni | Seoni-(T) | SMT SHARMILA JAIN W/O SANTOSH JAIN | NILANJANA CHOUK AMAR TAKIES KE PAAS SEONI SEONI | 1412007519 | 10 | HPL
18081088 | EZ0213890 | 510 | R-Phase - CT Open | 2025-04-02 10:18 | 2025-04-16 09:23 | 13.9619 | 243.58 | 241.66 | 238.09 | 0 | 0 | 1.33 | 0 | 1 | 0.89 | 156.58 | 192.04 | 1206307 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Mujawar | VIKASH BERALIYA | FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL . FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL | 1864002439 | 4 | HPL
18081088 | EZ0213890 | 510 | R-Phase - CT Open | 2025-04-02 10:18 | 2025-04-16 09:23 | 13.9619 | 243.58 | 241.66 | 238.09 | 0 | 0 | 1.33 | 0 | 1 | 0.89 | 156.58 | 192.04 | 1206307 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Mujawar | VIKASH BERALIYA | FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL . FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL | 1864002439 | 4 | HPL
17977541 | EZ0223726 | 511 | Y-Phase - CT Open | 2025-04-05 14:02 | 2025-04-19 12:06 | 13.9197 | 246.2 | 244.87 | 243.93 | 10.824 | 0 | 0 | 0.75 | 1 | 1 | 644.46 | 688.57 | 1202660 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara RES | SHRI KESHVRAO PANDURANG GHORKE | NAGPUR ROAD SARRA 9893417829 28625 | 1126032213 | 5 | HPL
17977541 | EZ0223726 | 511 | Y-Phase - CT Open | 2025-04-05 14:02 | 2025-04-19 12:06 | 13.9197 | 246.2 | 244.87 | 243.93 | 10.824 | 0 | 0 | 0.75 | 1 | 1 | 644.46 | 688.57 | 1202660 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara RES | SHRI KESHVRAO PANDURANG GHORKE | NAGPUR ROAD SARRA 9893417829 28625 | 1126032213 | 5 | HPL
18022463 | EZ0201349 | 512 | B-Phase - CT Open | 2025-04-09 13:22 | 2025-04-23 11:19 | 13.9146 | 238.17 | 244.71 | 240.54 | 6.189 | 1.209 | 0.223 | -0.997 | -0.988 | -0.995 | 3387.17 | 3624.89 | 1202219 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | RES | CIRCLE OFFICE | SHANTINAGAR KATNI KATNI | 1315019924 | 10 | HPL
18022463 | EZ0201349 | 512 | B-Phase - CT Open | 2025-04-09 13:22 | 2025-04-23 11:19 | 13.9146 | 238.17 | 244.71 | 240.54 | 6.189 | 1.209 | 0.223 | -0.997 | -0.988 | -0.995 | 3387.17 | 3624.89 | 1202219 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | RES | CIRCLE OFFICE | SHANTINAGAR KATNI KATNI | 1315019924 | 10 | HPL
17985313 | EZ0211998 | 511 | Y-Phase - CT Open | 2025-04-07 15:37 | 2025-04-21 13:32 | 13.9136 | 256.43 | 239.9 | 237.39 | 0 | 0.032 | 10.568 | 1 | 0 | 0.955 | 1607.92 | 1888.12 | 1202137 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | RAJESH KUMAR GAJRANI | S\\O SHRI KISHAN CHAND GAJRANI PUSHPRAJ COLLONY GALI NO 4 S\\O SHRI KISHAN CHAND GAJRANI,PUSHPRAJ COLLONY | 1906000377 | 1.746 | HPL
17985313 | EZ0211998 | 511 | Y-Phase - CT Open | 2025-04-07 15:37 | 2025-04-21 13:32 | 13.9136 | 256.43 | 239.9 | 237.39 | 0 | 0.032 | 10.568 | 1 | 0 | 0.955 | 1607.92 | 1888.12 | 1202137 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | RAJESH KUMAR GAJRANI | S\\O SHRI KISHAN CHAND GAJRANI PUSHPRAJ COLLONY GALI NO 4 S\\O SHRI KISHAN CHAND GAJRANI,PUSHPRAJ COLLONY | 1906000377 | 1.746 | HPL
17530567 | EZ0211792 | 510 | R-Phase - CT Open | 2025-04-09 00:17 | 2025-04-22 19:49 | 13.8139 | 221.55 | 219.28 | 219.73 | 0 | 16.202 | 10.743 | 1 | 1 | 0.995 | 4518.88 | 5155.71 | 1193522 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa-(T) | VIJAY KUMAR THARWANI | JAWAHAR NAGAR,R-2 39633JAWAHAR NAGAR,R-2 39633JAWAHAR NAGAR,R-2 39633 | 1401030678 | 10 | HPL
17530567 | EZ0211792 | 510 | R-Phase - CT Open | 2025-04-09 00:17 | 2025-04-22 19:49 | 13.8139 | 221.55 | 219.28 | 219.73 | 0 | 16.202 | 10.743 | 1 | 1 | 0.995 | 4518.88 | 5155.71 | 1193522 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa-(T) | VIJAY KUMAR THARWANI | JAWAHAR NAGAR,R-2 39633JAWAHAR NAGAR,R-2 39633JAWAHAR NAGAR,R-2 39633 | 1401030678 | 10 | HPL
17530461 | EZ0222496 | 511 | Y-Phase - CT Open | 2025-04-09 19:00 | 2025-04-23 14:06 | 13.7953 | 240.78 | 240.87 | 241.02 | 0 | 0 | 3.412 | 1 | 1 | 0.999 | 1430.72 | 1564.69 | 1191910 | CT Open | 3ph | Discom Level | Sagar | Damoh | Damoh South | Damoh-(T) | TRILOK SINGH | MAGANJ WARD, DAMOH,...MAGANJ WARD, DAMOH,.. | 1307037848 | 10 | HPL
17530461 | EZ0222496 | 511 | Y-Phase - CT Open | 2025-04-09 19:00 | 2025-04-23 14:06 | 13.7953 | 240.78 | 240.87 | 241.02 | 0 | 0 | 3.412 | 1 | 1 | 0.999 | 1430.72 | 1564.69 | 1191910 | CT Open | 3ph | Discom Level | Sagar | Damoh | Damoh South | Damoh-(T) | TRILOK SINGH | MAGANJ WARD, DAMOH,...MAGANJ WARD, DAMOH,.. | 1307037848 | 10 | HPL
17631170 | EZ0223037 | 511 | Y-Phase - CT Open | 2025-04-09 11:28 | 2025-04-22 18:35 | 13.2962 | 229.46 | 230.47 | 244.72 | 12.958 | 0 | 14.187 | 0.943 | 1 | 0.783 | 5183.91 | 5820.57 | 1148789 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SMT GEETA DUBEY | WARD NO.31 SHRI RAM COLONY\t REWA ROAD SOHAGPUR..\t REWA ROAD SOHAGPUR..\t | 1308044530 | 2.99 | HPL
17631170 | EZ0223037 | 511 | Y-Phase - CT Open | 2025-04-09 11:28 | 2025-04-22 18:35 | 13.2962 | 229.46 | 230.47 | 244.72 | 12.958 | 0 | 14.187 | 0.943 | 1 | 0.783 | 5183.91 | 5820.57 | 1148789 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SMT GEETA DUBEY | WARD NO.31 SHRI RAM COLONY\t REWA ROAD SOHAGPUR..\t REWA ROAD SOHAGPUR..\t | 1308044530 | 2.99 | HPL
18159955 | EZ0219118 | 512 | B-Phase - CT Open | 2025-04-13 21:24 | 2025-04-26 11:47 | 12.599 | 251.89 | 251.05 | 250.65 | 1.579 | 0 | 0 | 0.937 | 1 | 0.368 | 963.69 | 1075.51 | 1088557 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Vijay Nagar City | Shanti Nagar | RAGHVENDRA RAO | HNO 593 SHANTI NAGAR,JABALPUR PNO SC43 HNO 593 SHANTI NAGAR,JABALPUR PNO SC43 HNO 593 SHANTI NAGAR,JABALPUR PNO SC43 | 1875003105 | 4.9 | HPL
18159955 | EZ0219118 | 512 | B-Phase - CT Open | 2025-04-13 21:24 | 2025-04-26 11:47 | 12.599 | 251.89 | 251.05 | 250.65 | 1.579 | 0 | 0 | 0.937 | 1 | 0.368 | 963.69 | 1075.51 | 1088557 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Vijay Nagar City | Shanti Nagar | RAGHVENDRA RAO | HNO 593 SHANTI NAGAR,JABALPUR PNO SC43 HNO 593 SHANTI NAGAR,JABALPUR PNO SC43 HNO 593 SHANTI NAGAR,JABALPUR PNO SC43 | 1875003105 | 4.9 | HPL
17979310 | EZ0211870 | 510 | R-Phase - CT Open | 2025-04-09 17:20 | 2025-04-21 19:57 | 12.1093 | 243.48 | 237.48 | 239.8 | 0 | 0 | 1.249 | 1 | 1 | 0.99 | 576.44 | 637.61 | 1046243 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | SHRI MRADUL PAHARIYA | . SANGRAM COLONY .,SANGRAM COLONY | 1901012059 | 9 | HPL
17979310 | EZ0211870 | 510 | R-Phase - CT Open | 2025-04-09 17:20 | 2025-04-21 19:57 | 12.1093 | 243.48 | 237.48 | 239.8 | 0 | 0 | 1.249 | 1 | 1 | 0.99 | 576.44 | 637.61 | 1046243 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | SHRI MRADUL PAHARIYA | . SANGRAM COLONY .,SANGRAM COLONY | 1901012059 | 9 | HPL
18012834 | EZ0211977 | 511 | Y-Phase - CT Open | 2025-04-05 21:23 | 2025-04-17 22:59 | 12.0665 | 245.34 | 237.35 | 239.46 | 0.508 | 0.043 | 1.011 | 0.947 | -0.87 | -0.907 | 1122.28 | 1199.2 | 1042547 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | ALAM CHANDRA | . CIVIL LINE .,. | 1906001633 | 4 | HPL
18012834 | EZ0211977 | 511 | Y-Phase - CT Open | 2025-04-05 21:23 | 2025-04-17 22:59 | 12.0665 | 245.34 | 237.35 | 239.46 | 0.508 | 0.043 | 1.011 | 0.947 | -0.87 | -0.907 | 1122.28 | 1199.2 | 1042547 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | ALAM CHANDRA | . CIVIL LINE .,. | 1906001633 | 4 | HPL
18023958 | EZ0216302 | 512 | B-Phase - CT Open | 2025-04-09 21:00 | 2025-04-21 22:00 | 12.0413 | 246.95 | 243.59 | 247.74 | 1.523 | 7.484 | 0 | 0.955 | -0.999 | 1 | 447.31 | 528.48 | 1040371 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Vijay Nagar City | Ekta Nagar | SMT MANJU MISHRA W/O SHRI NEERAJ MISHRA | FLAT NO-404 BLOCK NO-3 MUSKAN PLAZA SHATABDIPURAM MR -4 ROAD JABALPUR | 1878005191 | 4 | HPL
18023958 | EZ0216302 | 512 | B-Phase - CT Open | 2025-04-09 21:00 | 2025-04-21 22:00 | 12.0413 | 246.95 | 243.59 | 247.74 | 1.523 | 7.484 | 0 | 0.955 | -0.999 | 1 | 447.31 | 528.48 | 1040371 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Vijay Nagar City | Ekta Nagar | SMT MANJU MISHRA W/O SHRI NEERAJ MISHRA | FLAT NO-404 BLOCK NO-3 MUSKAN PLAZA SHATABDIPURAM MR -4 ROAD JABALPUR | 1878005191 | 4 | HPL
18076426 | EZ0220035 | 512 | B-Phase - CT Open | 2025-04-14 20:48 | 2025-04-26 20:37 | 11.9923 | 224.89 | 223.74 | 236.19 | 6.728 | 0.052 | 0.049 | 0.968 | 0 | 0 | 1447.13 | 1610.33 | 1036132 | CT Open | 3ph | Discom Level | Sagar | Tikamgarh | Tikamgarh | Tikamgarh-(T) | JITENDRA KUMAR RAI / RAMESH CHANDRA RAI | R 1 / 36 DATE 16-04-2018 MAU ROAD J.K. RESTOURENT TIKAMGARH | 1581007985 | 7 | HPL
18076426 | EZ0220035 | 512 | B-Phase - CT Open | 2025-04-14 20:48 | 2025-04-26 20:37 | 11.9923 | 224.89 | 223.74 | 236.19 | 6.728 | 0.052 | 0.049 | 0.968 | 0 | 0 | 1447.13 | 1610.33 | 1036132 | CT Open | 3ph | Discom Level | Sagar | Tikamgarh | Tikamgarh | Tikamgarh-(T) | JITENDRA KUMAR RAI / RAMESH CHANDRA RAI | R 1 / 36 DATE 16-04-2018 MAU ROAD J.K. RESTOURENT TIKAMGARH | 1581007985 | 7 | HPL
17897190 | EZ0211190 | 510 | R-Phase - CT Open | 2025-04-07 09:06 | 2025-04-19 01:41 | 11.6907 | 246.89 | 246.39 | 226.22 | 0 | 0 | 14.189 | 1 | 1 | 1 | 2937.21 | 3119.75 | 1010076 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | NAND KISHOR PANDEY | S/O SHIV DHARI PANDEY,FREND COLLONY S/O SHIV DHARI PANDEY,FREND COLLONY S/O SHIV DHARI PANDEY,FREND COLLONY | 1901025270 | 7 | HPL
17897190 | EZ0211190 | 510 | R-Phase - CT Open | 2025-04-07 09:06 | 2025-04-19 01:41 | 11.6907 | 246.89 | 246.39 | 226.22 | 0 | 0 | 14.189 | 1 | 1 | 1 | 2937.21 | 3119.75 | 1010076 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | NAND KISHOR PANDEY | S/O SHIV DHARI PANDEY,FREND COLLONY S/O SHIV DHARI PANDEY,FREND COLLONY S/O SHIV DHARI PANDEY,FREND COLLONY | 1901025270 | 7 | HPL
18063027 | EZ0220379 | 510 | R-Phase - CT Open | 2025-04-10 23:07 | 2025-04-22 14:22 | 11.6359 | 228.53 | 194.08 | 205.67 | 0 | 2.591 | 0 | 1 | 0.989 | 1 | 1976.79 | 2014.54 | 1005345 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | LEELA DEVI AGRWAL /MAKUNDI LAL | VISHWANATH COLONY DR. SESHA KE,AGE 23826 . VISHWANATH COLONY DR. SESHA KE,AGE 23826 | 1201030210 | 9.8 | HPL
18063027 | EZ0220379 | 510 | R-Phase - CT Open | 2025-04-10 23:07 | 2025-04-22 14:22 | 11.6359 | 228.53 | 194.08 | 205.67 | 0 | 2.591 | 0 | 1 | 0.989 | 1 | 1976.79 | 2014.54 | 1005345 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | LEELA DEVI AGRWAL /MAKUNDI LAL | VISHWANATH COLONY DR. SESHA KE,AGE 23826 . VISHWANATH COLONY DR. SESHA KE,AGE 23826 | 1201030210 | 9.8 | HPL
18068059 | EZ0220954 | 512 | B-Phase - CT Open | 2025-04-03 14:40 | 2025-04-14 21:58 | 11.3041 | 230.25 | 248.62 | 231.11 | 7.175 | 4.525 | 0 | 0.704 | 0.329 | 1 | 4826.97 | 5261.25 | 976676 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SHRI SHIVECHARAN ASATI | ASATI MOHALLA,.. . ASATI MOHALLA,.. | 1201022820 | 7 | HPL
18068059 | EZ0220954 | 512 | B-Phase - CT Open | 2025-04-03 14:40 | 2025-04-14 21:58 | 11.3041 | 230.25 | 248.62 | 231.11 | 7.175 | 4.525 | 0 | 0.704 | 0.329 | 1 | 4826.97 | 5261.25 | 976676 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SHRI SHIVECHARAN ASATI | ASATI MOHALLA,.. . ASATI MOHALLA,.. | 1201022820 | 7 | HPL
17910556 | EZ0220435 | 511 | Y-Phase - CT Open | 2025-04-11 09:32 | 2025-04-22 12:10 | 11.1101 | 237.47 | 237.88 | 0 | 1.224 | 0 | 0 | 0.963 | 1 | 0 | 3080.11 | 3155.41 | 959909 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SURESH CHAND AGRAWAL S/O SHRI | SWAMI PD. AGRAWAL,SARANI DARWAJA . SWAMI PD. AGRAWAL,SARANI DARWAJA | 1201016620 | 7 | HPL
17910556 | EZ0220435 | 511 | Y-Phase - CT Open | 2025-04-11 09:32 | 2025-04-22 12:10 | 11.1101 | 237.47 | 237.88 | 0 | 1.224 | 0 | 0 | 0.963 | 1 | 0 | 3080.11 | 3155.41 | 959909 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SURESH CHAND AGRAWAL S/O SHRI | SWAMI PD. AGRAWAL,SARANI DARWAJA . SWAMI PD. AGRAWAL,SARANI DARWAJA | 1201016620 | 7 | HPL
18181597 | EZ0214274 | 512 | B-Phase - CT Open | 2025-04-15 21:58 | 2025-04-26 18:17 | 10.8466 | 226.76 | 221.4 | 222.67 | 4.166 | 9.622 | 0 | 0.998 | 1 | 1 | 1833.28 | 2209.46 | 937142 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | AANANDPUR SATSANG AASHRAM SDL | . MOHAN RAM TALAB SINDHI BAZAR,SHAHDOL | 1308022034 | 1.98 | HPL
18181597 | EZ0214274 | 512 | B-Phase - CT Open | 2025-04-15 21:58 | 2025-04-26 18:17 | 10.8466 | 226.76 | 221.4 | 222.67 | 4.166 | 9.622 | 0 | 0.998 | 1 | 1 | 1833.28 | 2209.46 | 937142 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | AANANDPUR SATSANG AASHRAM SDL | . MOHAN RAM TALAB SINDHI BAZAR,SHAHDOL | 1308022034 | 1.98 | HPL
18153405 | EZ0213379 | 511 | Y-Phase - CT Open | 2025-04-08 11:39 | 2025-04-19 06:43 | 10.7946 | 242.25 | 242.8 | 236.61 | 0.033 | 0.033 | 7.155 | 0 | 0 | 0.933 | 1264.41 | 1290.85 | 932651 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Awadhpuri | AKASH SHRIVASTAVA | S/O AJAY KUMAR SHRIVASTAVA PLAT NO. 03 NARMADA HILLS GWT ROAD JABALPUR | 1841002425 | 4 | HPL
18153405 | EZ0213379 | 511 | Y-Phase - CT Open | 2025-04-08 11:39 | 2025-04-19 06:43 | 10.7946 | 242.25 | 242.8 | 236.61 | 0.033 | 0.033 | 7.155 | 0 | 0 | 0.933 | 1264.41 | 1290.85 | 932651 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Awadhpuri | AKASH SHRIVASTAVA | S/O AJAY KUMAR SHRIVASTAVA PLAT NO. 03 NARMADA HILLS GWT ROAD JABALPUR | 1841002425 | 4 | HPL
17524665 | EZ0220127 | 510 | R-Phase - CT Open | 2025-04-13 17:59 | 2025-04-24 12:53 | 10.7875 | 219.42 | 224.68 | 216.62 | 0.053 | 10.665 | 0 | 1 | -0.998 | 1 | 3440.43 | 3681.2 | 932043 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | ASHEESH SONI S/O UMASHANKAR SONI | CHWOK BAZAR GOVARDHAN TOKEESESTATE BANK KI MANJIL DUSRI 33CHHATARPUR | 1201051663 | 10 | HPL
17524665 | EZ0220127 | 510 | R-Phase - CT Open | 2025-04-13 17:59 | 2025-04-24 12:53 | 10.7875 | 219.42 | 224.68 | 216.62 | 0.053 | 10.665 | 0 | 1 | -0.998 | 1 | 3440.43 | 3681.2 | 932043 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | ASHEESH SONI S/O UMASHANKAR SONI | CHWOK BAZAR GOVARDHAN TOKEESESTATE BANK KI MANJIL DUSRI 33CHHATARPUR | 1201051663 | 10 | HPL
18074806 | EZ0223264 | 512 | B-Phase - CT Open | 2025-04-07 12:09 | 2025-04-17 23:25 | 10.4694 | 251.95 | 251.81 | 233.14 | 1.964 | 0.832 | 0 | -0.996 | 1 | 1 | 1594.94 | 1733.56 | 904553 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SMT NEELAM JAIN | S BAZAR MAIN BAZAR,SHAHDOL | 1308022422 | 7 | HPL
18074806 | EZ0223264 | 512 | B-Phase - CT Open | 2025-04-07 12:09 | 2025-04-17 23:25 | 10.4694 | 251.95 | 251.81 | 233.14 | 1.964 | 0.832 | 0 | -0.996 | 1 | 1 | 1594.94 | 1733.56 | 904553 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SMT NEELAM JAIN | S BAZAR MAIN BAZAR,SHAHDOL | 1308022422 | 7 | HPL
18041413 | EZ0223524 | 511 | Y-Phase - CT Open | 2025-04-13 20:22 | 2025-04-23 23:01 | 10.1105 | 236.72 | 238.53 | 237.75 | 1.646 | 0.06 | 4.523 | -0.982 | 1 | -0.98 | 391 | 464.67 | 873546 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara RES | RAJU BAUSKAR | ARCONS CITY KHAJRI EZ02202311321401 CHANDANGAON R2-31759 | 1126039586 | 4 | HPL
18041413 | EZ0223524 | 511 | Y-Phase - CT Open | 2025-04-13 20:22 | 2025-04-23 23:01 | 10.1105 | 236.72 | 238.53 | 237.75 | 1.646 | 0.06 | 4.523 | -0.982 | 1 | -0.98 | 391 | 464.67 | 873546 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara RES | RAJU BAUSKAR | ARCONS CITY KHAJRI EZ02202311321401 CHANDANGAON R2-31759 | 1126039586 | 4 | HPL
18095753 | EZ0212525 | 511 | Y-Phase - CT Open | 2025-04-15 13:23 | 2025-04-25 14:52 | 10.0619 | 249.86 | 252.27 | 254.89 | 4.455 | 0 | 0.709 | 0.944 | 1 | 0.885 | 1052.19 | 1173.44 | 869347 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | SHRI SUSHIL KU. SINGH | BANSAGAR ROAD SAMAN,.. . BANSAGAR ROAD SAMAN,.. | 1402014094 | 6 | HPL
18095753 | EZ0212525 | 511 | Y-Phase - CT Open | 2025-04-15 13:23 | 2025-04-25 14:52 | 10.0619 | 249.86 | 252.27 | 254.89 | 4.455 | 0 | 0.709 | 0.944 | 1 | 0.885 | 1052.19 | 1173.44 | 869347 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | SHRI SUSHIL KU. SINGH | BANSAGAR ROAD SAMAN,.. . BANSAGAR ROAD SAMAN,.. | 1402014094 | 6 | HPL
17983866 | EZ0211803 | 512 | B-Phase - CT Open | 2025-04-02 09:58 | 2025-04-12 10:43 | 10.0316 | 250.69 | 250.59 | 244.42 | 7.877 | 0.158 | 0.045 | -0.995 | -0.881 | 0 | 4129.3 | 4205.52 | 866728 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | VIPIN KUMAR SHUKLA | S/O DURGA PRASAD SHUKLA,GREEN FELD SCHOOL KE AAGE DURGA MANDIR KE SAMNE VIRAT NA SATNA | 1906021023 | 4 | HPL
17983866 | EZ0211803 | 512 | B-Phase - CT Open | 2025-04-02 09:58 | 2025-04-12 10:43 | 10.0316 | 250.69 | 250.59 | 244.42 | 7.877 | 0.158 | 0.045 | -0.995 | -0.881 | 0 | 4129.3 | 4205.52 | 866728 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | VIPIN KUMAR SHUKLA | S/O DURGA PRASAD SHUKLA,GREEN FELD SCHOOL KE AAGE DURGA MANDIR KE SAMNE VIRAT NA SATNA | 1906021023 | 4 | HPL
17916782 | EZ0211523 | 511 | Y-Phase - CT Open | 2025-04-01 18:32 | 2025-04-11 19:02 | 10.0209 | 243.14 | 232.92 | 249.71 | 3.576 | 0 | 0.039 | -0.994 | 1 | -0.46 | 4105.64 | 4270.88 | 865806 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Satna RES | RAKESH TRIPATHI | KOTHI ROAD, BAGAHA,PETROL PUMP KE SAMNE. | 1904010509 | 10 | HPL
17916782 | EZ0211523 | 511 | Y-Phase - CT Open | 2025-04-01 18:32 | 2025-04-11 19:02 | 10.0209 | 243.14 | 232.92 | 249.71 | 3.576 | 0 | 0.039 | -0.994 | 1 | -0.46 | 4105.64 | 4270.88 | 865806 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Satna RES | RAKESH TRIPATHI | KOTHI ROAD, BAGAHA,PETROL PUMP KE SAMNE. | 1904010509 | 10 | HPL
17897388 | EZ0224450 | 512 | B-Phase - CT Open | 2025-04-11 19:35 | 2025-04-21 18:22 | 9.9497 | 242.45 | 228.09 | 233.61 | 0.057 | 3.048 | 0 | -0.984 | 0.999 | 1 | 7170.1 | 7538.84 | 859651 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | SHRI AMBIKA PRASHAD TULSIAN | NARSINGUR ROAD POLE-T24 A2A,C 1 NARSINGPR ROAD POLE-T24 A2A,C | 1712013709 | 15 | HPL
17897388 | EZ0224450 | 512 | B-Phase - CT Open | 2025-04-11 19:35 | 2025-04-21 18:22 | 9.9497 | 242.45 | 228.09 | 233.61 | 0.057 | 3.048 | 0 | -0.984 | 0.999 | 1 | 7170.1 | 7538.84 | 859651 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | SHRI AMBIKA PRASHAD TULSIAN | NARSINGUR ROAD POLE-T24 A2A,C 1 NARSINGPR ROAD POLE-T24 A2A,C | 1712013709 | 15 | HPL
17524665 | EZ0220127 | 512 | B-Phase - CT Open | 2025-04-09 18:16 | 2025-04-19 15:47 | 9.8965 | 196.79 | 213.63 | 209.62 | 0.047 | 9.545 | 0 | 1 | -0.991 | 1 | 3331.37 | 3581.92 | 855058 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | ASHEESH SONI S/O UMASHANKAR SONI | CHWOK BAZAR GOVARDHAN TOKEESESTATE BANK KI MANJIL DUSRI 33CHHATARPUR | 1201051663 | 10 | HPL
17524665 | EZ0220127 | 512 | B-Phase - CT Open | 2025-04-09 18:16 | 2025-04-19 15:47 | 9.8965 | 196.79 | 213.63 | 209.62 | 0.047 | 9.545 | 0 | 1 | -0.991 | 1 | 3331.37 | 3581.92 | 855058 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | ASHEESH SONI S/O UMASHANKAR SONI | CHWOK BAZAR GOVARDHAN TOKEESESTATE BANK KI MANJIL DUSRI 33CHHATARPUR | 1201051663 | 10 | HPL
17528290 | EZ0211610 | 511 | Y-Phase - CT Open | 2025-04-05 16:05 | 2025-04-15 13:04 | 9.8741 | 240.91 | 244.43 | 247 | 55.448 | 0 | 0 | -0.999 | 1 | 1 | 8587.72 | 9535.84 | 853124 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | DIBYANT DWIVEDI | ANGOORI BUILDINGKE PICHHE BADRIKA TOWEREZ02202206183988 | 1402038563 | 19 | HPL
17528290 | EZ0211610 | 511 | Y-Phase - CT Open | 2025-04-05 16:05 | 2025-04-15 13:04 | 9.8741 | 240.91 | 244.43 | 247 | 55.448 | 0 | 0 | -0.999 | 1 | 1 | 8587.72 | 9535.84 | 853124 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | DIBYANT DWIVEDI | ANGOORI BUILDINGKE PICHHE BADRIKA TOWEREZ02202206183988 | 1402038563 | 19 | HPL
17528290 | EZ0211610 | 512 | B-Phase - CT Open | 2025-04-05 16:05 | 2025-04-15 13:04 | 9.8741 | 240.91 | 244.43 | 247 | 55.448 | 0 | 0 | -0.999 | 1 | 1 | 8587.72 | 9535.84 | 853124 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | DIBYANT DWIVEDI | ANGOORI BUILDINGKE PICHHE BADRIKA TOWEREZ02202206183988 | 1402038563 | 19 | HPL
17528290 | EZ0211610 | 512 | B-Phase - CT Open | 2025-04-05 16:05 | 2025-04-15 13:04 | 9.8741 | 240.91 | 244.43 | 247 | 55.448 | 0 | 0 | -0.999 | 1 | 1 | 8587.72 | 9535.84 | 853124 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa2-(T) | DIBYANT DWIVEDI | ANGOORI BUILDINGKE PICHHE BADRIKA TOWEREZ02202206183988 | 1402038563 | 19 | HPL
18134366 | EZ0219510 | 510 | R-Phase - CT Open | 2025-04-16 18:22 | 2025-04-26 14:37 | 9.8441 | 228.01 | 215.59 | 224.82 | 0 | 4.526 | 0.132 | 1 | 0.944 | 0.766 | 5358.92 | 5627.25 | 850530 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur West City | Nagrath | SURENDRA KUMAR PAUL | 2658 NAPIER TOWN LATE B C PAUL,ROOPLI HOUSE | 1881000081 | 6.06 | HPL
18134366 | EZ0219510 | 510 | R-Phase - CT Open | 2025-04-16 18:22 | 2025-04-26 14:37 | 9.8441 | 228.01 | 215.59 | 224.82 | 0 | 4.526 | 0.132 | 1 | 0.944 | 0.766 | 5358.92 | 5627.25 | 850530 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur West City | Nagrath | SURENDRA KUMAR PAUL | 2658 NAPIER TOWN LATE B C PAUL,ROOPLI HOUSE | 1881000081 | 6.06 | HPL
17528562 | EZ0224924 | 511 | Y-Phase - CT Open | 2025-04-08 22:48 | 2025-04-18 18:43 | 9.8303 | 207.74 | 231.91 | 234.89 | 7.051 | 0 | 0 | -0.987 | 1 | 1 | 3382.98 | 3614.5 | 849340 | CT Open | 3ph | Discom Level | Jabalpur | Balaghat | Balaghat | Balaghat-(T) | SHRI ANIL KUMAR MANGLANI | WARD NO 26 PREMNAGAR BALAGHAT | 1001037251 | 10 | HPL
17528562 | EZ0224924 | 511 | Y-Phase - CT Open | 2025-04-08 22:48 | 2025-04-18 18:43 | 9.8303 | 207.74 | 231.91 | 234.89 | 7.051 | 0 | 0 | -0.987 | 1 | 1 | 3382.98 | 3614.5 | 849340 | CT Open | 3ph | Discom Level | Jabalpur | Balaghat | Balaghat | Balaghat-(T) | SHRI ANIL KUMAR MANGLANI | WARD NO 26 PREMNAGAR BALAGHAT | 1001037251 | 10 | HPL
17528491 | EZ0224809 | 512 | B-Phase - CT Open | 2025-04-11 21:51 | 2025-04-21 17:24 | 9.8146 | 246.67 | 254.33 | 248.9 | 8.67 | 0 | 0 | 0.929 | 1 | 1 | 1017.27 | 1167.4 | 847984 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | RAMNARAYAN MAHESHWARI | STATION ROAD PLT46,CHHINDWARAMOB. NO. 9425147769STATION ROAD PLT46,CHHINDWARA | 1712036934 | 10 | HPL
17528491 | EZ0224809 | 512 | B-Phase - CT Open | 2025-04-11 21:51 | 2025-04-21 17:24 | 9.8146 | 246.67 | 254.33 | 248.9 | 8.67 | 0 | 0 | 0.929 | 1 | 1 | 1017.27 | 1167.4 | 847984 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | RAMNARAYAN MAHESHWARI | STATION ROAD PLT46,CHHINDWARAMOB. NO. 9425147769STATION ROAD PLT46,CHHINDWARA | 1712036934 | 10 | HPL
18023512 | EZ0852320 | 511 | Y-Phase - CT Open | 2025-04-16 20:57 | 2025-04-26 12:34 | 9.6507 | 244.62 | 243.19 | 242.35 | 0 | 0 | 1.07 | 1 | 1 | 0.989 | 640.34 | 675.92 | 833822 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | KAMLA BAI BALAPURE | BARARI PURA POLE-PC-23,CHHINDWARA T. PAGE-40 . BARARI PURA POLE-PC-23,CHHINDWARA T. PAGE-40 | 1712024425 | 1.92 | HPL
18023512 | EZ0852320 | 511 | Y-Phase - CT Open | 2025-04-16 20:57 | 2025-04-26 12:34 | 9.6507 | 244.62 | 243.19 | 242.35 | 0 | 0 | 1.07 | 1 | 1 | 0.989 | 640.34 | 675.92 | 833822 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | KAMLA BAI BALAPURE | BARARI PURA POLE-PC-23,CHHINDWARA T. PAGE-40 . BARARI PURA POLE-PC-23,CHHINDWARA T. PAGE-40 | 1712024425 | 1.92 | HPL
18159860 | EZ0215163 | 510 | R-Phase - CT Open | 2025-04-05 15:26 | 2025-04-14 23:51 | 9.351 | 231.14 | 231.19 | 229.9 | 0 | 0.05 | 7.132 | 1 | 1 | 0.989 | 1110.27 | 1231.82 | 807923 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | RES | SAJAN DAS JAROMAL | SANTI NAGAR,RES KATNI . SANTI NAGAR,RES KATNI | 1315006054 | 7 | HPL
18159860 | EZ0215163 | 510 | R-Phase - CT Open | 2025-04-05 15:26 | 2025-04-14 23:51 | 9.351 | 231.14 | 231.19 | 229.9 | 0 | 0.05 | 7.132 | 1 | 1 | 0.989 | 1110.27 | 1231.82 | 807923 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | RES | SAJAN DAS JAROMAL | SANTI NAGAR,RES KATNI . SANTI NAGAR,RES KATNI | 1315006054 | 7 | HPL
18009434 | EZ0223180 | 510 | R-Phase - CT Open | 2025-04-06 11:31 | 2025-04-15 18:53 | 9.3073 | 246.91 | 262.03 | 212.62 | 0 | 0 | 8.941 | 1 | 1 | 0.656 | 922.1 | 965.69 | 804149 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Beohari | BHAGWAT PD GUPTA | BEOHARI . . | 1108021070 | 5 | HPL
18009434 | EZ0223180 | 510 | R-Phase - CT Open | 2025-04-06 11:31 | 2025-04-15 18:53 | 9.3073 | 246.91 | 262.03 | 212.62 | 0 | 0 | 8.941 | 1 | 1 | 0.656 | 922.1 | 965.69 | 804149 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Beohari | BHAGWAT PD GUPTA | BEOHARI . . | 1108021070 | 5 | HPL
18081088 | EZ0213890 | 510 | R-Phase - CT Open | 2025-04-16 10:07 | 2025-04-25 12:31 | 9.0998 | 241.37 | 239.07 | 239.65 | 0 | 0 | 1.29 | 0 | 1 | 0.879 | 192.24 | 237.59 | 786223 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Mujawar | VIKASH BERALIYA | FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL . FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL | 1864002439 | 4 | HPL
18081088 | EZ0213890 | 510 | R-Phase - CT Open | 2025-04-16 10:07 | 2025-04-25 12:31 | 9.0998 | 241.37 | 239.07 | 239.65 | 0 | 0 | 1.29 | 0 | 1 | 0.879 | 192.24 | 237.59 | 786223 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Mujawar | VIKASH BERALIYA | FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL . FLAT NO-402 BLOCK-H RAJUL,APPARTMENT MDANMHAL | 1864002439 | 4 | HPL
17909444 | EZ0219647 | 512 | B-Phase - CT Open | 2025-04-16 13:43 | 2025-04-25 15:29 | 9.0738 | 246.29 | 246.73 | 236.24 | 6.06 | 0.29 | 0 | 0.959 | -0.203 | 1 | 1068.38 | 1225.35 | 783978 | CT Open | 3ph | Discom Level | Jabalpur | Balaghat | Balaghat | Balaghat-(T) | MR.ANILPRAKASH / ALKHAPRAKASH | POLE NO.BT-6 , BALAGHAT,...POLE NO.BT-6 , BALAGHAT,.. | 1001000853 | 10 | HPL
17909444 | EZ0219647 | 512 | B-Phase - CT Open | 2025-04-16 13:43 | 2025-04-25 15:29 | 9.0738 | 246.29 | 246.73 | 236.24 | 6.06 | 0.29 | 0 | 0.959 | -0.203 | 1 | 1068.38 | 1225.35 | 783978 | CT Open | 3ph | Discom Level | Jabalpur | Balaghat | Balaghat | Balaghat-(T) | MR.ANILPRAKASH / ALKHAPRAKASH | POLE NO.BT-6 , BALAGHAT,...POLE NO.BT-6 , BALAGHAT,.. | 1001000853 | 10 | HPL
17974450 | EZ0211455 | 510 | R-Phase - CT Open | 2025-04-02 18:40 | 2025-04-11 19:39 | 9.0414 | 242.2 | 242.75 | 242.55 | 0 | 1.245 | 0 | 1 | 1 | 1 | 809.63 | 835.3 | 781175 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | PRIYANKA JAIN | SANGRAM COLLONY M I G 18 REEWA ROAD SANGRAM COLLONY M I G 18 SATNA | 1901012499 | 4 | HPL
17974450 | EZ0211455 | 510 | R-Phase - CT Open | 2025-04-02 18:40 | 2025-04-11 19:39 | 9.0414 | 242.2 | 242.75 | 242.55 | 0 | 1.245 | 0 | 1 | 1 | 1 | 809.63 | 835.3 | 781175 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | PRIYANKA JAIN | SANGRAM COLLONY M I G 18 REEWA ROAD SANGRAM COLLONY M I G 18 SATNA | 1901012499 | 4 | HPL
18048698 | EZ0212218 | 512 | B-Phase - CT Open | 2025-04-06 11:08 | 2025-04-15 11:48 | 9.0277 | 251.07 | 234.75 | 240.39 | 0 | 8.946 | 0 | 1 | 0.984 | 1 | 1148.73 | 1218.82 | 779995 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | SUNIL KUMAR | . CHOWK BAJAR .,. | 1906015116 | 7 | HPL
18048698 | EZ0212218 | 512 | B-Phase - CT Open | 2025-04-06 11:08 | 2025-04-15 11:48 | 9.0277 | 251.07 | 234.75 | 240.39 | 0 | 8.946 | 0 | 1 | 0.984 | 1 | 1148.73 | 1218.82 | 779995 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | SUNIL KUMAR | . CHOWK BAJAR .,. | 1906015116 | 7 | HPL
17528461 | EZ0218472 | 511 | Y-Phase - CT Open | 2025-04-16 15:16 | 2025-04-25 15:48 | 9.0219 | 223.4 | 222.73 | 230.75 | 23.594 | 0 | 5.408 | 0.982 | 1 | -0.988 | 7382.5 | 8132.65 | 779495 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | Katni-(T) | CHHAVI NARAYAN AGARWAL / SURESH AGARWAL | BUS STEND R2-13305TOWNKATNI | 1305025132 | 10 | HPL
17528461 | EZ0218472 | 511 | Y-Phase - CT Open | 2025-04-16 15:16 | 2025-04-25 15:48 | 9.0219 | 223.4 | 222.73 | 230.75 | 23.594 | 0 | 5.408 | 0.982 | 1 | -0.988 | 7382.5 | 8132.65 | 779495 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | Katni-(T) | CHHAVI NARAYAN AGARWAL / SURESH AGARWAL | BUS STEND R2-13305TOWNKATNI | 1305025132 | 10 | HPL
17983866 | EZ0211803 | 512 | B-Phase - CT Open | 2025-04-12 11:06 | 2025-04-21 10:32 | 8.9768 | 251.67 | 242.85 | 256.97 | 24.257 | 0.401 | 0.047 | -0.979 | -0.904 | 0 | 4208.38 | 4276.35 | 775596 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | VIPIN KUMAR SHUKLA | S/O DURGA PRASAD SHUKLA,GREEN FELD SCHOOL KE AAGE DURGA MANDIR KE SAMNE VIRAT NA SATNA | 1906021023 | 4 | HPL
17983866 | EZ0211803 | 512 | B-Phase - CT Open | 2025-04-12 11:06 | 2025-04-21 10:32 | 8.9768 | 251.67 | 242.85 | 256.97 | 24.257 | 0.401 | 0.047 | -0.979 | -0.904 | 0 | 4208.38 | 4276.35 | 775596 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | VIPIN KUMAR SHUKLA | S/O DURGA PRASAD SHUKLA,GREEN FELD SCHOOL KE AAGE DURGA MANDIR KE SAMNE VIRAT NA SATNA | 1906021023 | 4 | HPL
17899802 | EZ0223970 | 511 | Y-Phase - CT Open | 2025-04-09 23:22 | 2025-04-18 21:54 | 8.9388 | 237.2 | 235.88 | 240.93 | 0.895 | 0 | 1.073 | -0.997 | 1 | 0.937 | 1755.02 | 1805.59 | 772315 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | SHRI PRAGUL KUMAR SHAH | GANESH COLONEY PL-T121,CHHINDWARA [T] MOB. NO. 9425306118 GANESH COLONEY PL-T121,CHHINDWARA [T] | 1712018708 | 10 | HPL
17899802 | EZ0223970 | 511 | Y-Phase - CT Open | 2025-04-09 23:22 | 2025-04-18 21:54 | 8.9388 | 237.2 | 235.88 | 240.93 | 0.895 | 0 | 1.073 | -0.997 | 1 | 0.937 | 1755.02 | 1805.59 | 772315 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | SHRI PRAGUL KUMAR SHAH | GANESH COLONEY PL-T121,CHHINDWARA [T] MOB. NO. 9425306118 GANESH COLONEY PL-T121,CHHINDWARA [T] | 1712018708 | 10 | HPL
17909324 | EZ0224550 | 510 | R-Phase - CT Open | 2025-04-08 16:19 | 2025-04-17 11:03 | 8.781 | 248.74 | 247.91 | 247.41 | 0 | 16.634 | 17.566 | 0.777 | 0.987 | 0.914 | 15618.64 | 16414.42 | 758682 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara RES | SMT MAYA DHARMENDRA SURYAWSNHI | 66 KV KE SAMANE NONIYA942582555526867 | 1126021392 | 15 | HPL
17909324 | EZ0224550 | 510 | R-Phase - CT Open | 2025-04-08 16:19 | 2025-04-17 11:03 | 8.781 | 248.74 | 247.91 | 247.41 | 0 | 16.634 | 17.566 | 0.777 | 0.987 | 0.914 | 15618.64 | 16414.42 | 758682 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara RES | SMT MAYA DHARMENDRA SURYAWSNHI | 66 KV KE SAMANE NONIYA942582555526867 | 1126021392 | 15 | HPL
18109350 | EZ0222999 | 510 | R-Phase - CT Open | 2025-04-09 09:05 | 2025-04-17 19:47 | 8.4457 | 244.12 | 233.17 | 234.2 | 0 | 18.882 | 7.861 | 1 | 0.999 | 0.993 | 3051.13 | 3289.05 | 729707 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SHRI SUNIL KU JETHANI | BAZAR,SHAHDOL GANJ BAZAR,SHAHDOL | 1308035079 | 4 | HPL
18109350 | EZ0222999 | 510 | R-Phase - CT Open | 2025-04-09 09:05 | 2025-04-17 19:47 | 8.4457 | 244.12 | 233.17 | 234.2 | 0 | 18.882 | 7.861 | 1 | 0.999 | 0.993 | 3051.13 | 3289.05 | 729707 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SHRI SUNIL KU JETHANI | BAZAR,SHAHDOL GANJ BAZAR,SHAHDOL | 1308035079 | 4 | HPL
17786836 | EZ0223205 | 512 | B-Phase - CT Open | 2025-04-03 10:49 | 2025-04-11 20:43 | 8.4124 | 245.88 | 240.24 | 243.81 | 0.801 | 2.169 | 0.075 | -0.73 | 0.945 | -0.775 | 4485.29 | 4538.09 | 726830 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SUSHIL KUMAR SINGHAL | H I G HOUSING BOARD,- . H I G HOUSING BOARD,- | 1308007047 | 10 | HPL
17786836 | EZ0223205 | 512 | B-Phase - CT Open | 2025-04-03 10:49 | 2025-04-11 20:43 | 8.4124 | 245.88 | 240.24 | 243.81 | 0.801 | 2.169 | 0.075 | -0.73 | 0.945 | -0.775 | 4485.29 | 4538.09 | 726830 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SUSHIL KUMAR SINGHAL | H I G HOUSING BOARD,- . H I G HOUSING BOARD,- | 1308007047 | 10 | HPL
17864403 | EZ0224145 | 512 | B-Phase - CT Open | 2025-04-08 01:18 | 2025-04-16 10:31 | 8.3842 | 229.59 | 229.79 | 246.46 | 19.936 | 22.273 | 0 | 0.978 | 0.968 | 1 | 6812.51 | 6888.87 | 724393 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | MR VILAS PATEL S/O MR MURLIDHAR PATEL | NARSINGHPUR ROAD KALI MANDIR KE PICHHE R-1/1249 MO-NO/9806073274/75-204/CL | 1712000948 | 13 | HPL
17864403 | EZ0224145 | 512 | B-Phase - CT Open | 2025-04-08 01:18 | 2025-04-16 10:31 | 8.3842 | 229.59 | 229.79 | 246.46 | 19.936 | 22.273 | 0 | 0.978 | 0.968 | 1 | 6812.51 | 6888.87 | 724393 | CT Open | 3ph | Discom Level | Jabalpur | Chhindwara | Chihindwara City Dn | Chhindwara-(T) | MR VILAS PATEL S/O MR MURLIDHAR PATEL | NARSINGHPUR ROAD KALI MANDIR KE PICHHE R-1/1249 MO-NO/9806073274/75-204/CL | 1712000948 | 13 | HPL
18014538 | EZ0214648 | 510 | R-Phase - CT Open | 2025-04-06 09:01 | 2025-04-14 17:16 | 8.3436 | 237.03 | 244.92 | 239.15 | 0 | 1.088 | 3.964 | 0 | 0.985 | 0.991 | 1861.56 | 1953.57 | 720885 | CT Open | 3ph | Discom Level | Jabalpur | Narsinghpur | Narsinghpur | Narsinghpur-(T) | KIRAN KASHIV | ASHWANI KASHIV,HOUSHING BOARD . ASHWANI KASHIV,HOUSHING BOARD | 1260020468 | 20 | HPL
18014538 | EZ0214648 | 510 | R-Phase - CT Open | 2025-04-06 09:01 | 2025-04-14 17:16 | 8.3436 | 237.03 | 244.92 | 239.15 | 0 | 1.088 | 3.964 | 0 | 0.985 | 0.991 | 1861.56 | 1953.57 | 720885 | CT Open | 3ph | Discom Level | Jabalpur | Narsinghpur | Narsinghpur | Narsinghpur-(T) | KIRAN KASHIV | ASHWANI KASHIV,HOUSHING BOARD . ASHWANI KASHIV,HOUSHING BOARD | 1260020468 | 20 | HPL
17530802 | EZ0215059 | 511 | Y-Phase - CT Open | 2025-04-09 11:51 | 2025-04-17 16:18 | 8.186 | 231.67 | 229.49 | 229.39 | 0.062 | 0.097 | 1.735 | -0.297 | -0.935 | -0.983 | 1141.9 | 1237.67 | 707272 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | Madhav Nagar | ASHOK KUMAR | ROCHAMAL AHUJA KIRAN LINE,TIKURI.ROCHAMAL AHUJA KIRAN LINE,TIKURI | 1330009509 | 10 | HPL
17530802 | EZ0215059 | 511 | Y-Phase - CT Open | 2025-04-09 11:51 | 2025-04-17 16:18 | 8.186 | 231.67 | 229.49 | 229.39 | 0.062 | 0.097 | 1.735 | -0.297 | -0.935 | -0.983 | 1141.9 | 1237.67 | 707272 | CT Open | 3ph | Discom Level | Jabalpur | Katni | Katni City Dn | Madhav Nagar | ASHOK KUMAR | ROCHAMAL AHUJA KIRAN LINE,TIKURI.ROCHAMAL AHUJA KIRAN LINE,TIKURI | 1330009509 | 10 | HPL
17528692 | EZ0220826 | 512 | B-Phase - CT Open | 2025-04-11 12:54 | 2025-04-19 16:28 | 8.1486 | 229.16 | 227.45 | 246.29 | 12.834 | 3.058 | 0 | -0.998 | -0.995 | 1 | 4867.48 | 5335.85 | 704040 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SHRI SANTOSH KUMAR JAIN. | BAJARIYA,...BAJARIYA,.. | 1201005056 | 10 | HPL
17528692 | EZ0220826 | 512 | B-Phase - CT Open | 2025-04-11 12:54 | 2025-04-19 16:28 | 8.1486 | 229.16 | 227.45 | 246.29 | 12.834 | 3.058 | 0 | -0.998 | -0.995 | 1 | 4867.48 | 5335.85 | 704040 | CT Open | 3ph | Discom Level | Sagar | Chhatarpur | Chhatarpur | Chhatarpur-T | SHRI SANTOSH KUMAR JAIN. | BAJARIYA,...BAJARIYA,.. | 1201005056 | 10 | HPL
18127163 | EZ0220353 | 511 | Y-Phase - CT Open | 2025-04-05 19:11 | 2025-04-13 21:17 | 8.0875 | 230.47 | 218.58 | 203.44 | 2.125 | 0 | 42.19 | 1 | 1 | 0.999 | 1030.3 | 1122.44 | 698756 | CT Open | 3ph | Discom Level | Sagar | Tikamgarh | Prithvipur | Prithvipur | RAJKUMAR / MATADEEN RAWAT | RAWAT KALONI PRITHVIPUR 10144 - | 1438025158 | 4 | HPL
18127163 | EZ0220353 | 511 | Y-Phase - CT Open | 2025-04-05 19:11 | 2025-04-13 21:17 | 8.0875 | 230.47 | 218.58 | 203.44 | 2.125 | 0 | 42.19 | 1 | 1 | 0.999 | 1030.3 | 1122.44 | 698756 | CT Open | 3ph | Discom Level | Sagar | Tikamgarh | Prithvipur | Prithvipur | RAJKUMAR / MATADEEN RAWAT | RAWAT KALONI PRITHVIPUR 10144 - | 1438025158 | 4 | HPL
18126016 | EZ0874693 | 510 | R-Phase - CT Open | 2025-04-03 11:40 | 2025-04-11 12:22 | 8.0293 | 236.5 | 241.2 | 237.9 | 0 | 1.76 | 1.67 | 1 | 0.575 | -0.177 | 572.3684 | 610.7229 | 693731 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | KRISHNPAL KUSHWAHA | . SINDHI CAMP DURGA MANDIR KE SAMNE.,SINDHI CAMP | 1901017161 | 8 | LINKWELL TELESYSTEMS
18126016 | EZ0874693 | 510 | R-Phase - CT Open | 2025-04-03 11:40 | 2025-04-11 12:22 | 8.0293 | 236.5 | 241.2 | 237.9 | 0 | 1.76 | 1.67 | 1 | 0.575 | -0.177 | 572.3684 | 610.7229 | 693731 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Kolgawa | KRISHNPAL KUSHWAHA | . SINDHI CAMP DURGA MANDIR KE SAMNE.,SINDHI CAMP | 1901017161 | 8 | LINKWELL TELESYSTEMS
18032875 | EZ0212269 | 511 | Y-Phase - CT Open | 2025-04-19 16:05 | 2025-04-27 16:39 | 8.0237 | 231.68 | 244.57 | 233.15 | 11.474 | 0 | 2.007 | 0.95 | 1 | -0.993 | 2241.05 | 2457.12 | 693250 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa3-(T) | ANIL RAJPAL | NEAR AMAHIYA THANA EZ02202409231313 REWA | 1403032452 | 5 | HPL
18032875 | EZ0212269 | 511 | Y-Phase - CT Open | 2025-04-19 16:05 | 2025-04-27 16:39 | 8.0237 | 231.68 | 244.57 | 233.15 | 11.474 | 0 | 2.007 | 0.95 | 1 | -0.993 | 2241.05 | 2457.12 | 693250 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa3-(T) | ANIL RAJPAL | NEAR AMAHIYA THANA EZ02202409231313 REWA | 1403032452 | 5 | HPL
18032863 | EZ0211784 | 511 | Y-Phase - CT Open | 2025-04-05 09:05 | 2025-04-13 09:24 | 8.0133 | 157.09 | 248.55 | 247.82 | 0 | 0 | 3.757 | 1 | 1 | 0.934 | 1262.43 | 1335.7 | 692349 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa-(T) | SHRI RAKESH KUMAR AHUJA | SINDHI COLONY NEAR RANI TALAB,SINDHI COLONY NEAR RANI TALAB . SINDHI COLONY NEAR RANI TALAB,SINDHI COLONY NEAR RANI TALAB | 1401032338 | 10 | HPL
18032863 | EZ0211784 | 511 | Y-Phase - CT Open | 2025-04-05 09:05 | 2025-04-13 09:24 | 8.0133 | 157.09 | 248.55 | 247.82 | 0 | 0 | 3.757 | 1 | 1 | 0.934 | 1262.43 | 1335.7 | 692349 | CT Open | 3ph | Discom Level | Rewa | Rewa | Rewa City Dn | Rewa-(T) | SHRI RAKESH KUMAR AHUJA | SINDHI COLONY NEAR RANI TALAB,SINDHI COLONY NEAR RANI TALAB . SINDHI COLONY NEAR RANI TALAB,SINDHI COLONY NEAR RANI TALAB | 1401032338 | 10 | HPL
18056190 | EZ0218900 | 510 | R-Phase - CT Open | 2025-04-03 15:30 | 2025-04-11 15:23 | 7.9949 | 245.95 | 245.36 | 243.19 | 0 | 1.183 | 0.266 | 1 | 0.515 | -0.956 | 1140.14 | 1209.53 | 690763 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur West City | Gol Bazar | SUNIL KUMAR SINGHAI | 319 SATNA BUILDING,JABALPUR . 319 SATNA BUILDING,JABALPUR | 1895005109 | 4 | HPL
18056190 | EZ0218900 | 510 | R-Phase - CT Open | 2025-04-03 15:30 | 2025-04-11 15:23 | 7.9949 | 245.95 | 245.36 | 243.19 | 0 | 1.183 | 0.266 | 1 | 0.515 | -0.956 | 1140.14 | 1209.53 | 690763 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur West City | Gol Bazar | SUNIL KUMAR SINGHAI | 319 SATNA BUILDING,JABALPUR . 319 SATNA BUILDING,JABALPUR | 1895005109 | 4 | HPL
18098294 | EZ0215333 | 510 | R-Phase - CT Open | 2025-04-04 09:07 | 2025-04-12 07:59 | 7.9525 | 244.92 | 241.81 | 242.01 | 0 | 0 | 1.204 | 1 | 1 | -0.999 | 539.54 | 550.96 | 687098 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Awadhpuri | GAJENDRA SINGH PATLE | TOWER 3 FLAT 207 ASTHA NAGAR GWARIGHAT ROAD | 1841000459 | 4 | HPL
18098294 | EZ0215333 | 510 | R-Phase - CT Open | 2025-04-04 09:07 | 2025-04-12 07:59 | 7.9525 | 244.92 | 241.81 | 242.01 | 0 | 0 | 1.204 | 1 | 1 | -0.999 | 539.54 | 550.96 | 687098 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Awadhpuri | GAJENDRA SINGH PATLE | TOWER 3 FLAT 207 ASTHA NAGAR GWARIGHAT ROAD | 1841000459 | 4 | HPL
17868502 | EZ0222670 | 511 | Y-Phase - CT Open | 2025-04-08 21:07 | 2025-04-16 18:45 | 7.9013 | 236.65 | 233.33 | 230.67 | 1.034 | 0 | 0.704 | 1 | 1 | 0.837 | 1533.88 | 1564.37 | 682670 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SMT ABHILASHA NIGAM W/O PRADEEP NIGAM | WARD NO 4 FRNT OF RADIO CO. PALI ROAD SOHAGPUR | 1308009674 | 4.22 | HPL
17868502 | EZ0222670 | 511 | Y-Phase - CT Open | 2025-04-08 21:07 | 2025-04-16 18:45 | 7.9013 | 236.65 | 233.33 | 230.67 | 1.034 | 0 | 0.704 | 1 | 1 | 0.837 | 1533.88 | 1564.37 | 682670 | CT Open | 3ph | Discom Level | Shahdol | Shahdol | Shahdol | Shahdol-(T) | SMT ABHILASHA NIGAM W/O PRADEEP NIGAM | WARD NO 4 FRNT OF RADIO CO. PALI ROAD SOHAGPUR | 1308009674 | 4.22 | HPL
17995544 | EZ0218398 | 512 | B-Phase - CT Open | 2025-04-18 16:21 | 2025-04-26 13:47 | 7.8934 | 228.6 | 230.99 | 229.49 | 5.944 | 0.412 | 0 | 0.951 | 0.994 | 1 | 3512.04 | 3602.95 | 681990 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur West City | Wright-(T) | AADI DEO HARBAL PVT. LTD. | H NO 1495,WRIGHT TOWN . H NO 1495,WRIGHT TOWN | 1885009154 | 10 | HPL
17995544 | EZ0218398 | 512 | B-Phase - CT Open | 2025-04-18 16:21 | 2025-04-26 13:47 | 7.8934 | 228.6 | 230.99 | 229.49 | 5.944 | 0.412 | 0 | 0.951 | 0.994 | 1 | 3512.04 | 3602.95 | 681990 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur West City | Wright-(T) | AADI DEO HARBAL PVT. LTD. | H NO 1495,WRIGHT TOWN . H NO 1495,WRIGHT TOWN | 1885009154 | 10 | HPL
17985281 | EZ0211293 | 511 | Y-Phase - CT Open | 2025-04-04 22:16 | 2025-04-12 18:03 | 7.824 | 250.16 | 245.21 | 198.57 | 0 | 0 | 3.617 | 1 | 1 | 0.977 | 5742.46 | 5900.58 | 675997 | CT Open | 3ph | Discom Level | Rewa | Rewa | Tyother | Chakghat | KISHORI LAL GUPTA | CHAKGHAT .. ...802180 | 1162010919 | 5 | HPL
17985281 | EZ0211293 | 511 | Y-Phase - CT Open | 2025-04-04 22:16 | 2025-04-12 18:03 | 7.824 | 250.16 | 245.21 | 198.57 | 0 | 0 | 3.617 | 1 | 1 | 0.977 | 5742.46 | 5900.58 | 675997 | CT Open | 3ph | Discom Level | Rewa | Rewa | Tyother | Chakghat | KISHORI LAL GUPTA | CHAKGHAT .. ...802180 | 1162010919 | 5 | HPL
17995576 | EZ0218983 | 510 | R-Phase - CT Open | 2025-04-14 09:29 | 2025-04-22 00:02 | 7.6067 | 237.33 | 240.74 | 238.22 | 0.066 | 0.416 | 1.282 | 1 | -0.975 | 1 | 904.03 | 914.65 | 657217 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Tilwara | YOGENDRA MISHRA | E-302 KOUSHALYA MY HOMES TILWARA ROAD JBP | 1858007429 | 5 | HPL
17995576 | EZ0218983 | 510 | R-Phase - CT Open | 2025-04-14 09:29 | 2025-04-22 00:02 | 7.6067 | 237.33 | 240.74 | 238.22 | 0.066 | 0.416 | 1.282 | 1 | -0.975 | 1 | 904.03 | 914.65 | 657217 | CT Open | 3ph | Discom Level | Jabalpur | Jabalpur CC | Jabalpur South City | Tilwara | YOGENDRA MISHRA | E-302 KOUSHALYA MY HOMES TILWARA ROAD JBP | 1858007429 | 5 | HPL
18155235 | EZ0875186 | 512 | B-Phase - CT Open | 2025-04-14 18:05 | 2025-04-22 08:02 | 7.5816 | 241 | 243.6 | 244.3 | 0 | 2.01 | 0.09 | 1 | 0.949 | -0.954 | 1154.0281 | 1355.0486 | 655047 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | SMT KIRAN TRIPATHI | HIG-26 BHARHUT NAGAR HIG-26 BHARHUT NAGAR HIG-26 BHARHUT NAGAR | 1906002017 | 4 | LINKWELL TELESYSTEMS
18155235 | EZ0875186 | 512 | B-Phase - CT Open | 2025-04-14 18:05 | 2025-04-22 08:02 | 7.5816 | 241 | 243.6 | 244.3 | 0 | 2.01 | 0.09 | 1 | 0.949 | -0.954 | 1154.0281 | 1355.0486 | 655047 | CT Open | 3ph | Discom Level | Rewa | Satna | Satna City | Muktiyar Ganj | SMT KIRAN TRIPATHI | HIG-26 BHARHUT NAGAR HIG-26 BHARHUT NAGAR HIG-26 BHARHUT NAGAR | 1906002017 | 4 | LINKWELL TELESYSTEMS
18032842 | EZ0210350 | 511 | Y-Phase - CT Open | 2025-04-02 21:43 | 2025-04-10 11:02 | 7.5555 | 232.56 | 238.33 | 245.19 | 16.767 | 0 | 5.461 | -0.992 | -0.7 | -0.986 | 12287.21 | 12868.92 | 652793 | CT Open | 3ph | Discom Level | Jabalpur | Balaghat | Waraseoni | Waraseoni | RAHUL TANWANI | W N 7 KATANGI ROAD W N 7 KATANGI ROAD WARASEONI | 1510016349 | 9.5 | HPL
18032842 | EZ0210350 | 511 | Y-Phase - CT Open | 2025-04-02 21:43 | 2025-04-10 11:02 | 7.5555 | 232.56 | 238.33 | 245.19 | 16.767 | 0 | 5.461 | -0.992 | -0.7 | -0.986 | 12287.21 | 12868.92 | 652793 | CT Open | 3ph | Discom Level | Jabalpur | Balaghat | Waraseoni | Waraseoni | RAHUL TANWANI | W N 7 KATANGI ROAD W N 7 KATANGI ROAD WARASEONI | 1510016349 | 9.5 | HPL